## Sheet1
KELT-S ROOF CONTROLLER PARTS LIST
Item | Quantity | Description |  | Cost
Enclosure | 1 |  |  | 1000
Din Rail Connecter Blocks | 50 |  |  | 200
Din Rail | 1m |  |  | 25
PLC | 1 | DVP-12SA PLC |  | 1400
PLC PSU | 1 | DVP-PS02 |  | 400
PLC RS-232 Cable | 1 | DVPACAB2A30 3m Cable |  | 110
PSU | 1 | AD1048-24FS 24V 2A |  | 400
Circuit breaker | 1 | MN106 6A |  | 50
Circuit breaker | 1 | MN110 10A |  | 50
Relays | 3 | Finder 55.32 10A 2Pole |  | 150
Relay Holder | 3 | Finder 94.02SPA |  | 100
Push Buttons | 3 | SB7-CA45R | p121 | 150
Selector switch | 1 | SB7-CD25B |  | 80
LED Indicator | 1 | AD1602R |  | 40
Roof limit Switches | 2 | KB F1 S11 |  | 500 | if not supplied by roof contractor
Door limit Switch | 1 | KB E1 S11 |  | 250
4905